Exterior:

□ Address on the building and visible from the public right of way.

□ Doors and windows in good condition and operable.

□ Steps, decks, porches, landings, sidewalks in good/safe condition and free of tripping hazards.

□ Handrails/guardrails sturdy, weatherproof, at least 36” high spindles less than 4” apart

□ Roofs, shingles, eaves, soffits, and fascia are in good repair.

□ Siding, trim, and paint in good condition

□ Secure trash receptacles designed to prevent intrusion by animals

□ Remove all trash and debris from the exterior property

□ Swimming pools – properly fenced, gate automatically closes and locks

Interior:

□ Floors/walls/ceilings must have a proper finish and be free from holes.

□ All sleeping areas must have proper egress.

□ Interior shall be maintained in a sanitary condition and free from rodent and insect infestations.

□ Properly installed and maintained water heating device.

□ Minimum sanitary facilities maintained in a sanitary/working condition include: Toilet, Lavatory, Bathtub/Shower, and Kitchen Sink.

□ All sanitary facilities shall be properly connected to approved public or private water and sewer systems.

□ Smoke detectors shall be provided as required by the building code.

□ Fire extinguisher and carbon monoxide detectors properly mounted and charged.

□ Cover plates for outlets, switches and junction boxes shall be in place.

□ Check condition of stairways for sturdy and safe condition.

NOTE: Owner is responsible for ensuring previously permitted electrical and heating systems are properly maintained and in safe working order.

This list is not all inclusive, but a guide for the most common issues.  The International Property Maintenance Code includes a more comprehensive list of requirements.

Inspector Name:

Company:

License Number:

Observations and Noncompliance’s (include additional sheet(s) if required):

Inspector Signature:							Date: